EP 6P03 / UN 0801

2007 Winter Session

Extra Assignment

B. Rouben

This assignment is an exercise on load cycling (also sometimes loosely called load following).

Since electricity requirements are lower during the night, it is sometimes advantageous to be able to operate a generating station in load-cycling mode.

For instance, consider the following 24-hour cycle:

- 7.5 hours at 100% Full Power (FP)

- Reduce power linearly to 60% FP in 1 half hour

- 8 hours at 60% FP

- Increase power linearly to 100% FP in 1 half hour

- 7.5 hours at FP.

Using the typical data in the “xenon_equations”:

- Write an EXCEL file (or write a computer program) to calculate the “extra” xenon reactivity (relative to the steady-state value of –28 mk), using a half-hour time step t as “integrating” time step

- Ignore any other reactivity components in the calculation

- What is the extra xenon reactivity at the end of the 24-h cycle?  Is it back to essentially 0?

- Plot the xenon extra reactivity over the 24-h cycle

Now assume that the above cycle is to be repeated 5 times (for 5 weekdays), followed by 2 days at full power:

- Adapt your EXCEL file or computer program to calculate the transient over the 7 days

- Plot the extra xenon reactivity over 7 days

- What is the extra xenon reactivity at the end of each 24-h period?  Is there a pattern emerging?

Indicate how the reactor is kept critical during each different phase of the 7-day period.  In particular, if the extra xenon reactivity near the end of each 24-h period is not 0, how is this accommodated?  If 1 ppm of boron is worth 8 mk, and you are allowed to use up to 0.5 ppm of boron at any one time, is this a practicable weekly load cycle?

If you feel ambitious, you may want to see if your conclusions are very different if using a smaller time step (e.g., 15 min or even smaller time step instead of 30 min) to integrate the equations.

Discuss also the effect of load cycling on the reactor refuelling.  If the reactivity decay rate from incremental fuel burnup is normally 0.4 mk per full-power-day, should you maintain the same rate of refuelling during the weekly load cycle, or can you modify it?